Minutes 2012/3/30

Present: Hao, Jan, Gang, Spiros, Jonathan, Xin, H. Wieman, H-G Ritter, Flemming, Leo

- Survey

  - Hao presented fits to a single/thinned PXL sensor chip. Resulting accuracy using the TPS function was satisfactory (a few microns).

  - He also presented and discussed a draft of the Survey/Alignment steps.

  - Jan Rusnak is programing the CMM machine to automatically measure a set of points. It takes about 5 seconds to take one point measurement. He is also studying a test ladder with 3-thinned chips on it to see realistic deviations from planarity.

- BUR- Run13

  - Spiros showed a few slides with some estimates. Another draft was circulated later.

  - Hao is setting up a full GEANT re-analysis with the prototype acceptance.

  - By the STAR analysis meeting in mid-April we should have some concrete numbers to report.

- AOB

  - Jonathan performed some timing tests with/without the HFT in BFC. Things look fine so far, ie no significant overhead added.

  - He is also updating the Offline structures to accommodate the new detectors.